## Brühl CCs
Detection of the Cooling Capacity of Compression Chillers in Brühl, Freiburg im Breisgau, Germany
Ground Truth Cooling Capacity (kW) | Detected Cooling Capacity (kW) | True Positive (kW) | False Positive (kW) | False Negative (kW)
681.695 | 0 | 0 | 0 | 681.695
681.695 | 681.695 | 681.695 | 0 | 0
681.695 | 743.818 | 681.695 | 62.123 | 0
681.695 | 0 | 0 | 0 | 681.695
122.588 | 246.834 | 246.834 | 124.246 | 0
60.465 | 184.711 | 184.711 | 124.246 | 0
557.449 | 371.08 | 371.08 | 0 | 186.369
122.588 | 122.588 | 122.588 | 0 | 0
122.588 | 246.834 | 246.834 | 124.246 | 0
184.711 | 0 | 0 | 0 | 184.711
681.695 | 0 | 0 | 0 | 681.695
681.695 | 122.588 | 122.588 | 0 | 559.107
308.957 | 308.957 | 308.957 | 0 | 0
308.957 | 371.08 | 308.957 | 62.123 | 0
184.711 | 184.711 | 184.711 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
122.588 | 246.834 | 122.588 | 124.246 | 0
122.588 | 246.834 | 122.588 | 124.246 | 0
246.834 | 184.711 | 184.711 | 0 | 62.123
184.711 | 184.711 | 184.711 | 0 | 0
930.187 | 930.187 | 930.187 | 0 | 0
184.711 | 0 | 0 | 0 | 184.711
433.203 | 433.203 | 433.203 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
122.588 | 60.465 | 60.465 | 0 | 62.123
184.711 | 184.711 | 184.711 | 0 | 0
0 | 122.588 | 0 | 122.588 | 0
0 | 60.465 | 0 | 60.465 | 0
0 | 122.588 | 0 | 122.588 | 0
0 | 122.588 | 0 | 122.588 | 0
0 | 433.203 | 0 | 433.203 | 0
557.449 | 0 | 0 | 0 | 557.449
122.588 | 122.588 | 122.588 | 0 | 0
122.588 | 122.588 | 122.588 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
0 | 246.834 | 0 | 246.834 | 0
122.588 | 122.588 | 122.588 | 0 | 0
495.326 | 557.449 | 495.326 | 62.123 | 0
308.957 | 371.08 | 308.957 | 62.123 | 0
184.711 | 184.711 | 184.711 | 0 | 0
122.588 | 122.588 | 122.588 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 0 | 0 | 0 | 60.465
184.711 | 184.711 | 184.711 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
184.711 | 246.834 | 184.711 | 62.123 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
122.588 | 60.465 | 60.465 | 0 | 62.123
60.465 | 60.465 | 60.465 | 0 | 0
433.203 | 433.203 | 433.203 | 0 | 0
433.203 | 433.203 | 433.203 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
308.957 | 246.834 | 246.834 | 0 | 62.123
184.711 | 122.588 | 122.588 | 0 | 62.123
433.203 | 433.203 | 433.203 | 0 | 0
1178.679 | 1178.679 | 1178.679 | 0 | 0
743.818 | 681.695 | 681.695 | 0 | 62.123
743.818 | 743.818 | 743.818 | 0 | 0
0 | 743.818 | 0 | 743.818 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 0 | 0 | 0 | 60.465
122.588 | 122.588 | 122.588 | 0 | 0
122.588 | 122.588 | 122.588 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
60.465 | 0 | 0 | 0 | 60.465
60.465 | 0 | 0 | 0 | 60.465
60.465 | 0 | 0 | 0 | 60.465
60.465 | 0 | 0 | 0 | 60.465
0 | 122.588 | 122.588 | 122.588 | 0
0 | 184.711 | 184.711 | 184.711 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 122.588 | 60.465 | 62.123 | 0
184.711 | 122.588 | 122.588 | 0 | 62.123
184.711 | 0 | 0 | 0 | 184.711
184.711 | 0 | 0 | 0 | 184.711
681.695 | 681.695 | 681.695 | 0 | 0
681.695 | 681.695 | 681.695 | 0 | 0
0 | 184.711 | 184.711 | 184.711 | 0
0 | 60.465 | 60.465 | 60.465 | 0
0 | 433.203 | 433.203 | 433.203 | 0
0 | 246.834 | 246.834 | 246.834 | 0
0 | 246.834 | 246.834 | 246.834 | 0
60.465 | 0 | 0 | 0 | 60.465
60.465 | 0 | 0 | 0 | 60.465
246.834 | 0 | 0 | 0 | 246.834
308.957 | 308.957 | 308.957 | 0 | 0
308.957 | 371.08 | 371.08 | 62.123 | 0
184.711 | 184.711 | 184.711 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
246.834 | 246.834 | 246.834 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
122.588 | 184.711 | 122.588 | 62.123 | 0
60.465 | 0 | 0 | 0 | 60.465
0 | 495.326 | 0 | 495.326 | 0
0 | 122.588 | 0 | 122.588 | 0
0 | 122.588 | 0 | 122.588 | 0
0 | 308.957 | 0 | 308.957 | 0
1302.925 | 0 | 0 | 0 | 1302.925
433.203 | 433.203 | 433.203 | 0 | 0
433.203 | 433.203 | 433.203 | 0 | 0
60.465 | 122.588 | 60.465 | 62.123 | 0
184.711 | 184.711 | 184.711 | 0 | 0

## Brühl CTs
Detection of the Cooling Capacity of Compression Chillers in Brühl, Freiburg im Breisgau, Germany
True Size (px) | True Cooling Capacity (kW) | Pedicted Size Calibration Factor (px) | Predicted Cooling Capacity Calibration Factor (px) | Pedicted Size Calibration Function (px) | Predicted Cooling Capacity Calibration Function (px)
27.5 | 2858.1646 | 28 | 2982.7259 | 28.6315 | 3144.3266
30.5 | 3650.5458 | 26 | 2502.4858 | 26.4364 | 2603.1898
30.5 | 3650.5458 | 32 | 4087.2483 | 33.0215 | 4400.1027
27.5 | 2858.1646 | 28 | 2982.7259 | 28.6315 | 3144.3266
27.5 | 2858.1646 | 29 | 3240.8513 | 29.729 | 3436.5828
27.5 | 2858.1646 | 28 | 2982.7259 | 28.6315 | 3144.3266
27.5 | 2858.1646 | 28 | 2982.7259 | 28.6315 | 3144.3266
18 | 1061.6654 | 20 | 1349.8494 | 19.8514 | 1326.7847
18 | 1061.6654 | 20 | 1349.8494 | 19.8514 | 1326.7847
19 | 1199.7557 | 20 | 1349.8494 | 19.8514 | 1326.7847
27.5 | 2858.1646 | 28 | 2982.7259 | 28.6315 | 3144.3266
28.5 | 3110.2882 | 29 | 3240.8513 | 29.729 | 3436.5828
19 | 1199.7557 | 21 | 1511.9467 | 20.9489 | 1503.3725
17 | 935.5786 | 0 | 0.001 | 0 | 0
17 | 935.5786 | 0 | 0.001 | 0 | 0
17 | 935.5786 | 0 | 0.001 | 0 | 0
17 | 935.5786 | 0 | 0.001 | 0 | 0
17 | 935.5786 | 0 | 0.001 | 0 | 0
17 | 935.5786 | 0 | 0.001 | 0 | 0
26.5 | 2618.0445 | 0 | 0.001 | 0 | 0
24 | 2070.2596 | 0 | 0.001 | 0 | 0
22 | 1686.0475 | 0 | 0.001 | 0 | 0
25 | 2280.3709 | 29 | 3240.8513 | 29.729 | 3436.5828
58 | 15948.0113 | 56 | 14747.5607 | 59.3617 | 16792.8315
57 | 15341.7842 | 56 | 14747.5607 | 59.3617 | 16792.8315
57 | 15341.7842 | 56 | 14747.5607 | 59.3617 | 16792.8315
56.5 | 15043.1721 | 48 | 10425.8989 | 50.5817 | 11736.5749
50 | 11434.2933 | 53 | 13036.9112 | 56.0692 | 14788.2962
50 | 11434.2933 | 50 | 11434.2933 | 52.7767 | 12913.8877
50.5 | 11693.8941 | 50 | 11434.2933 | 52.7767 | 12913.8877
50 | 11434.2933 | 50 | 11434.2933 | 52.7767 | 12913.8877
68 | 22670.4743 | 64 | 19837.447 | 68.1418 | 22774.4353
20.5 | 1429.3977 | 0 | 0 | 0 | 0
20.5 | 1429.3977 | 20 | 1349.8494 | 19.8514 | 1326.7847
0 | 0 | 25 | 2280.3709 | 25.3389 | 2354.3093
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873

## Altstadt CCs
Detection of the Cooling Capacity of Compression Chillers in Brühl, Freiburg im Breisgau, Germany
Ground Truth Cooling Capacity (kW) | Detected Cooling Capacity (kW) | True Positive (kW) | False Positive (kW) | False Negative (kW)
60.465 | 60.465 | 60.465 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
0 | 246.834 | 0 | 246.834 | 0
308.957 | 184.711 | 184.711 | 0 | 124.246
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
122.588 | 184.711 | 122.588 | 62.123 | 0
184.711 | 246.834 | 184.711 | 62.123 | 0
681.695 | 681.695 | 681.695 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
0 | 60.465 | 0 | 60.465 | 0
60.465 | 60.465 | 60.465 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
60.465 | 0 | 0 | 0 | 60.465
60.465 | 0 | 0 | 0 | 60.465
184.711 | 0 | 0 | 0 | 184.711
184.711 | 184.711 | 184.711 | 0 | 0
930.187 | 930.187 | 930.187 | 0 | 0
930.187 | 930.187 | 930.187 | 0 | 0
930.187 | 930.187 | 930.187 | 0 | 0
60.465 | 122.588 | 60.465 | 62.123 | 0
246.834 | 184.711 | 184.711 | 0 | 62.123
122.588 | 184.711 | 184.711 | 0 | 0
60.465 | 0 | 0 | 0 | 60.465
557.449 | 557.449 | 557.449 | 0 | 0
557.449 | 557.449 | 557.449 | 0 | 0
0 | 60.465 | 0 | 60.465 | 0
0 | 122.588 | 0 | 122.588 | 0
184.711 | 184.711 | 184.711 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
122.588 | 122.588 | 122.588 | 0 | 0
0 | 60.465 | 0 | 60.465 | 0
0 | 308.957 | 0 | 308.957 | 0
184.711 | 184.711 | 184.711 | 0 | 0
308.957 | 371.08 | 308.957 | 62.123 | 0
60.465 | 0 | 0 | 0 | 60.465
60.465 | 0 | 0 | 0 | 60.465
184.711 | 184.711 | 184.711 | 0 | 0
122.588 | 184.711 | 122.588 | 62.123 | 0
122.588 | 184.711 | 122.588 | 62.123 | 0
122.588 | 122.588 | 122.588 | 0 | 0
805.941 | 805.941 | 805.941 | 0 | 0
433.203 | 433.203 | 433.203 | 0 | 0
246.834 | 433.203 | 246.834 | 186.369 | 0
246.834 | 433.203 | 246.834 | 186.369 | 0
184.711 | 0 | 0 | 0 | 184.711
0 | 60.465 | 0 | 60.465 | 0
0 | 122.588 | 0 | 122.588 | 0
0 | 246.834 | 0 | 246.834 | 0
60.465 | 60.465 | 60.465 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
0 | 122.588 | 0 | 122.588 | 0
0 | 184.711 | 0 | 184.711 | 0
308.957 | 184.711 | 184.711 | 0 | 124.246
60.465 | 60.465 | 60.465 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
681.695 | 743.818 | 681.695 | 62.123 | 0
0 | 495.326 | 0 | 495.326 | 0
246.834 | 371.08 | 246.834 | 124.246 | 0
246.834 | 495.326 | 246.834 | 248.492 | 0
681.695 | 992.31 | 681.695 | 310.615 | 0
681.695 | 1365.048 | 681.695 | 683.353 | 0
0 | 184.711 | 0 | 184.711 | 0
433.203 | 433.203 | 433.203 | 0 | 0
681.695 | 681.695 | 681.695 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
0 | 122.588 | 0 | 122.588 | 0
184.711 | 184.711 | 184.711 | 0 | 0
184.711 | 184.711 | 184.711 | 0 | 0
122.588 | 122.588 | 122.588 | 0 | 0
60.465 | 60.465 | 60.465 | 0 | 0
308.957 | 308.957 | 308.957 | 0 | 0
308.957 | 371.08 | 308.957 | 62.123 | 0
0 | 122.588 | 0 | 122.588 | 0
308.957 | 246.834 | 246.834 | 0 | 62.123
60.465 | 0 | 0 | 0 | 60.465
184.711 | 0 | 0 | 0 | 184.711

## Altstadt CTs
Detection of the Cooling Capacity of Cooling Towers in Altstadt/Neuburg, Freiburg im Breisgau, Germany
True Size (px) | True Cooling Capacity (kW) | Pedicted Size Calibration Factor (px) | Predicted Cooling Capacity Calibration Factor (px) | Pedicted Size Calibration Function (px) | Predicted Cooling Capacity Calibration Function (px)
15 | 719.4156 | 0 | 0 | 0 | 0
15 | 719.4156 | 0 | 0 | 0 | 0
0 | 0 | 26 | 2502.4858 | 26.4364 | 2603.1898
0 | 0 | 26 | 2502.4858 | 26.4364 | 2603.1898
18 | 1061.6654 | 0 | 0 | 0 | 0
18 | 1061.6654 | 0 | 0 | 0 | 0
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 23 | 1872.1518 | 23.1439 | 1899.9238
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 22 | 1686.0475 | 22.0464 | 1694.4189
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 26 | 2502.4858 | 26.4364 | 2603.1898
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 23 | 1872.1518 | 23.1439 | 1899.9238
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 24 | 2070.2596 | 24.2414 | 2119.8873
0 | 0 | 27 | 2736.6041 | 27.534 | 2866.5289
0 | 0 | 25 | 2280.3709 | 25.3389 | 2354.3093
0 | 0 | 27 | 2736.6041 | 27.534 | 2866.5289
0 | 0 | 22 | 1686.0475 | 22.0464 | 1694.4189
0 | 0 | 47 | 9939.7069 | 49.4841 | 11169.6062

## Detected CCs Threshold 0.5
Detected Compression Chillers in the Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.5
Image | Ground Truth CCs | TP CCs | Ground Truth Vents | TP Vents | FP CCs | Doubled CCs | Doubled Vents | FN CCs | FN Vents | FP Vents
1 (6)_detections.png | 3 | 1 | 18 | 6 | 0 | 0 | 0 | 2 | 12 | 0
2 (1)_detections.png | 4 | 4 | 54 | 54 | 0 | 1 | 5 | 0 | 0 | 0
5 (3)_detections.png | 2 | 2 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
5 (4)_detections.png | 6 | 3 | 18 | 11 | 0 | 0 | 0 | 3 | 7 | 0
6 (3)_detections.png | 2 | 2 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
7 (5)_detections.png | 2 | 1 | 14 | 12 | 0 | 0 | 0 | 1 | 2 | 0
7 (6)_detections.png | 3 | 3 | 26 | 26 | 1 | 1 | 2 | 0 | 0 | 2
7 (10)_detections.png | 3 | 3 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
7 (11)_detections.png | 4 | 3 | 14 | 11 | 0 | 0 | 0 | 1 | 3 | 0
7 (12)_detections.png | 2 | 2 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
8 (1)_detections.png | 4 | 3 | 22 | 20 | 0 | 0 | 0 | 1 | 2 | 0
8 (8)_detections.png | 2 | 2 | 18 | 18 | 0 | 0 | 0 | 0 | 0 | 0
8 (12)_detections.png | 4 | 1 | 16 | 10 | 0 | 0 | 0 | 3 | 6 | 0
8 (18)_detections.png | 6 | 5 | 36 | 30 | 0 | 0 | 0 | 1 | 6 | 0
10 (7)_detections.png | 4 | 4 | 24 | 24 | 0 | 0 | 0 | 0 | 0 | 0
11 (2)_detections.png | 2 | 2 | 40 | 40 | 0 | 2 | 18 | 0 | 0 | 0
11 (15)_detections.png | 2 | 2 | 27 | 15 | 0 | 0 | 0 | 0 | 12 | 0
12 (1)_detections.png | 3 | 3 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0
12 (2)_detections.png | 11 | 1 | 26 | 6 | 1 | 0 | 0 | 10 | 20 | 4
12 (3)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
12 (4)_detections.png | 3 | 3 | 36 | 36 | 0 | 0 | 0 | 0 | 0 | 0
12 (5)_detections.png | 5 | 5 | 50 | 50 | 0 | 0 | 1 | 0 | 0 | 0
12 (7)_detections.png | 16 | 9 | 30 | 23 | 0 | 0 | 0 | 7 | 7 | 0
12 (8)_detections.png | 2 | 2 | 24 | 24 | 0 | 2 | 11 | 0 | 0 | 0
12 (9)_detections.png | 7 | 7 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0
12 (10)_detections.png | 9 | 7 | 80 | 64 | 2 | 0 | 0 | 2 | 16 | 7
13 (2)_detections.png | 5 | 5 | 19 | 19 | 0 | 0 | 0 | 0 | 0 | 0
13 (3)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
13 (4)_detections.png | 26 | 9 | 35 | 9 | 0 | 0 | 0 | 17 | 26 | 0
13 (5)_detections.png | 1 | 1 | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 0
14 (1)_detections.png | 2 | 2 | 40 | 40 | 0 | 0 | 0 | 0 | 0 | 0
14 (3)_detections.png | 7 | 6 | 56 | 46 | 0 | 0 | 0 | 1 | 10 | 0
14 (4)_detections.png | 3 | 3 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0
15 (1)_detections.png | 4 | 3 | 30 | 27 | 0 | 0 | 0 | 1 | 3 | 0
15 (2)_detections.png | 7 | 7 | 35 | 32 | 0 | 1 | 4 | 0 | 3 | 0
15 (3)_detections.png | 83 | 9 | 163 | 31 | 3 | 0 | 0 | 74 | 132 | 5
15 (4)_detections.png | 2 | 2 | 20 | 16 | 0 | 0 | 0 | 0 | 4 | 0
16 (1)_detections.png | 14 | 13 | 146 | 78 | 0 | 0 | 0 | 1 | 68 | 0
16 (2)_detections.png | 2 | 2 | 24 | 24 | 0 | 0 | 0 | 0 | 0 | 0
16 (4)_detections.png | 4 | 4 | 40 | 40 | 0 | 0 | 0 | 0 | 0 | 0
17 (4)_detections.png | 4 | 3 | 48 | 36 | 0 | 0 | 0 | 1 | 12 | 0
18 (3)_detections.png | 2 | 2 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0
19 (2)_detections.png | 2 | 2 | 20 | 20 | 0 | 1 | 1 | 0 | 0 | 0
23 (4)_detections.png | 2 | 2 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
23 (5)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
24 (1)_detections.png | 5 | 4 | 42 | 40 | 0 | 0 | 0 | 1 | 2 | 0
26 (3)_detections.png | 11 | 11 | 88 | 88 | 0 | 0 | 0 | 0 | 0 | 0
kkms (4)_detections.png | 7 | 7 | 42 | 42 | 0 | 0 | 0 | 0 | 0 | 0
kkms (6)_detections.png | 8 | 8 | 96 | 96 | 0 | 0 | 0 | 0 | 0 | 0
kkms (9)_detections.png | 4 | 4 | 72 | 72 | 0 | 1 | 11 | 0 | 0 | 0
kkms (10)_detections.png | 10 | 10 | 82 | 82 | 0 | 0 | 1 | 0 | 0 | 0
ADDITIONAL KKMs from CT-Set | 6 | 4 | 48 | 32 | 3 | 0 | 0 | 2 | 16 | 9

## Detected CCs Threshold 0.4
Detected Compression Chillers in the Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.4
Image | Ground Truth CCs | TP CCs | Ground Truth Vents | TP Vents | FP CCs | Doubled CCs | Doubled Vents | FN CCs | FN Vents | FP Vents
1 (6)_detections.png | 3 | 1 | 18 | 6 | 0 | 0 | 0 | 2 | 12 | 0
2 (1)_detections.png | 4 | 4 | 54 | 54 | 0 | 1 | 5 | 0 | 0 | 0
5 (3)_detections.png | 2 | 2 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
5 (4)_detections.png | 6 | 6 | 18 | 17 | 0 | 0 | 0 | 0 | 1 | 0
6 (3)_detections.png | 2 | 2 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
7 (5)_detections.png | 2 | 1 | 14 | 12 | 0 | 0 | 0 | 1 | 2 | 0
7 (6)_detections.png | 3 | 3 | 26 | 26 | 1 | 1 | 2 | 0 | 0 | 2
7 (10)_detections.png | 3 | 3 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
7 (11)_detections.png | 4 | 4 | 14 | 14 | 0 | 0 | 0 | 0 | 0 | 0
7 (12)_detections.png | 2 | 2 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
8 (1)_detections.png | 4 | 3 | 22 | 20 | 0 | 0 | 0 | 1 | 2 | 0
8 (8)_detections.png | 2 | 2 | 18 | 18 | 0 | 0 | 0 | 0 | 0 | 0
8 (12)_detections.png | 4 | 1 | 16 | 10 | 0 | 0 | 0 | 3 | 6 | 0
8 (18)_detections.png | 6 | 6 | 36 | 36 | 0 | 0 | 0 | 0 | 0 | 0
10 (7)_detections.png | 4 | 4 | 24 | 24 | 0 | 0 | 0 | 0 | 0 | 0
11 (2)_detections.png | 2 | 2 | 40 | 40 | 0 | 2 | 18 | 0 | 0 | 0
11 (15)_detections.png | 2 | 2 | 27 | 15 | 0 | 0 | 0 | 0 | 12 | 0
12 (1)_detections.png | 3 | 3 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0
12 (2)_detections.png | 11 | 2 | 26 | 8 | 1 | 0 | 0 | 9 | 18 | 4
12 (3)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
12 (4)_detections.png | 3 | 3 | 36 | 36 | 0 | 0 | 0 | 0 | 0 | 0
12 (5)_detections.png | 5 | 5 | 50 | 50 | 0 | 0 | 1 | 0 | 0 | 0
12 (7)_detections.png | 16 | 9 | 30 | 23 | 0 | 0 | 0 | 7 | 7 | 0
12 (8)_detections.png | 2 | 2 | 24 | 24 | 0 | 2 | 11 | 0 | 0 | 0
12 (9)_detections.png | 7 | 7 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0
12 (10)_detections.png | 9 | 7 | 80 | 64 | 2 | 0 | 0 | 2 | 16 | 7
13 (2)_detections.png | 5 | 5 | 19 | 19 | 1 | 0 | 0 | 0 | 0 | 0
13 (3)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
13 (4)_detections.png | 26 | 15 | 35 | 19 | 0 | 1 | 3 | 11 | 16 | 0
13 (5)_detections.png | 1 | 1 | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 0
14 (1)_detections.png | 2 | 2 | 40 | 40 | 0 | 0 | 0 | 0 | 0 | 0
14 (3)_detections.png | 7 | 6 | 56 | 46 | 0 | 0 | 0 | 1 | 10 | 0
14 (4)_detections.png | 3 | 3 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0
15 (1)_detections.png | 4 | 3 | 30 | 27 | 0 | 0 | 0 | 1 | 3 | 0
15 (2)_detections.png | 7 | 7 | 35 | 32 | 0 | 1 | 4 | 0 | 3 | 0
15 (3)_detections.png | 83 | 20 | 163 | 53 | 3 | 0 | 0 | 63 | 110 | 5
15 (4)_detections.png | 2 | 2 | 20 | 16 | 0 | 0 | 0 | 0 | 4 | 0
16 (1)_detections.png | 14 | 13 | 146 | 78 | 0 | 0 | 0 | 1 | 68 | 0
16 (2)_detections.png | 2 | 2 | 24 | 24 | 0 | 0 | 0 | 0 | 0 | 0
16 (4)_detections.png | 4 | 4 | 40 | 40 | 0 | 0 | 0 | 0 | 0 | 0
17 (4)_detections.png | 4 | 3 | 48 | 36 | 0 | 0 | 0 | 1 | 12 | 0
18 (3)_detections.png | 2 | 2 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0
19 (2)_detections.png | 2 | 2 | 20 | 20 | 0 | 1 | 1 | 0 | 0 | 0
23 (4)_detections.png | 2 | 2 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
23 (5)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
24 (1)_detections.png | 5 | 4 | 42 | 40 | 0 | 0 | 0 | 1 | 2 | 0
26 (3)_detections.png | 11 | 11 | 88 | 88 | 0 | 0 | 0 | 0 | 0 | 0
kkms (4)_detections.png | 7 | 7 | 42 | 42 | 0 | 0 | 0 | 0 | 0 | 0
kkms (6)_detections.png | 8 | 8 | 96 | 96 | 0 | 0 | 0 | 0 | 0 | 0
kkms (9)_detections.png | 4 | 4 | 72 | 72 | 0 | 1 | 11 | 0 | 0 | 0
kkms (10)_detections.png | 10 | 10 | 82 | 82 | 0 | 0 | 1 | 0 | 0 | 0
ADDITIONAL KKMs from CT-Set | 6 | 4 | 48 | 32 | 3 | 0 | 0 | 2 | 16 | 9

## Detected CCs Threshold 0.3
Detected Compression Chillers in the Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.3
Image | Ground Truth CCs | TP CCs | Ground Truth Vents | TP Vents | FP CCs | Doubled CCs | Doubled Vents | FN CCs | FN Vents | FP Vents
1 (6)_detections.png | 3 | 2 | 18 | 12 | 0 | 0 | 0 | 1 | 6 | 0
2 (1)_detections.png | 4 | 4 | 54 | 54 | 0 | 1 | 5 | 0 | 0 | 0
5 (3)_detections.png | 2 | 2 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
5 (4)_detections.png | 6 | 6 | 18 | 17 | 0 | 0 | 0 | 0 | 1 | 0
6 (3)_detections.png | 2 | 2 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
7 (5)_detections.png | 2 | 1 | 14 | 12 | 0 | 0 | 0 | 1 | 2 | 0
7 (6)_detections.png | 3 | 3 | 26 | 26 | 1 | 1 | 2 | 0 | 0 | 2
7 (10)_detections.png | 3 | 3 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
7 (11)_detections.png | 4 | 4 | 14 | 14 | 0 | 0 | 0 | 0 | 0 | 0
7 (12)_detections.png | 2 | 2 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0
8 (1)_detections.png | 4 | 3 | 22 | 20 | 0 | 0 | 0 | 1 | 2 | 0
8 (8)_detections.png | 2 | 2 | 18 | 18 | 0 | 0 | 0 | 0 | 0 | 0
8 (12)_detections.png | 4 | 1 | 16 | 10 | 0 | 0 | 0 | 3 | 6 | 0
8 (18)_detections.png | 6 | 6 | 36 | 36 | 0 | 0 | 0 | 0 | 0 | 0
10 (7)_detections.png | 4 | 4 | 24 | 24 | 0 | 0 | 0 | 0 | 0 | 0
11 (2)_detections.png | 2 | 2 | 40 | 40 | 0 | 2 | 18 | 0 | 0 | 0
11 (15)_detections.png | 2 | 2 | 27 | 15 | 0 | 0 | 0 | 0 | 12 | 0
12 (1)_detections.png | 3 | 3 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0
12 (2)_detections.png | 11 | 4 | 26 | 12 | 1 | 0 | 0 | 7 | 14 | 4
12 (3)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
12 (4)_detections.png | 3 | 3 | 36 | 36 | 0 | 0 | 0 | 0 | 0 | 0
12 (5)_detections.png | 5 | 5 | 50 | 50 | 0 | 0 | 1 | 0 | 0 | 0
12 (7)_detections.png | 16 | 9 | 30 | 23 | 0 | 2 | 2 | 7 | 7 | 0
12 (8)_detections.png | 2 | 2 | 24 | 24 | 0 | 2 | 11 | 0 | 0 | 0
12 (9)_detections.png | 7 | 7 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0
12 (10)_detections.png | 9 | 8 | 80 | 72 | 2 | 0 | 0 | 1 | 8 | 7
13 (2)_detections.png | 5 | 5 | 19 | 19 | 1 | 0 | 0 | 0 | 0 | 0
13 (3)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
13 (4)_detections.png | 26 | 19 | 35 | 25 | 0 | 1 | 3 | 7 | 10 | 0
13 (5)_detections.png | 1 | 1 | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 0
14 (1)_detections.png | 2 | 2 | 40 | 40 | 0 | 0 | 0 | 0 | 0 | 0
14 (3)_detections.png | 7 | 6 | 56 | 46 | 0 | 0 | 0 | 1 | 10 | 0
14 (4)_detections.png | 3 | 3 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0
15 (1)_detections.png | 4 | 4 | 30 | 29 | 0 | 0 | 0 | 0 | 1 | 0
15 (2)_detections.png | 7 | 7 | 35 | 32 | 0 | 1 | 4 | 0 | 3 | 0
15 (3)_detections.png | 83 | 41 | 163 | 104 | 3 | 4 | 13 | 42 | 59 | 5
15 (4)_detections.png | 2 | 2 | 20 | 16 | 0 | 0 | 0 | 0 | 4 | 0
16 (1)_detections.png | 14 | 13 | 146 | 99 | 2 | 0 | 0 | 1 | 47 | 2
16 (2)_detections.png | 2 | 2 | 24 | 24 | 0 | 0 | 0 | 0 | 0 | 0
16 (4)_detections.png | 4 | 4 | 40 | 40 | 0 | 0 | 0 | 0 | 0 | 0
17 (4)_detections.png | 4 | 4 | 48 | 46 | 0 | 0 | 0 | 0 | 2 | 0
18 (3)_detections.png | 2 | 2 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0
19 (2)_detections.png | 2 | 2 | 20 | 20 | 0 | 1 | 1 | 0 | 0 | 0
23 (4)_detections.png | 2 | 2 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
23 (5)_detections.png | 2 | 2 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
24 (1)_detections.png | 5 | 4 | 42 | 40 | 0 | 0 | 0 | 1 | 2 | 0
26 (3)_detections.png | 11 | 11 | 88 | 88 | 1 | 0 | 0 | 0 | 0 | 1
kkms (4)_detections.png | 7 | 7 | 42 | 42 | 0 | 0 | 0 | 0 | 0 | 0
kkms (6)_detections.png | 8 | 8 | 96 | 96 | 0 | 1 | 4 | 0 | 0 | 0
kkms (9)_detections.png | 4 | 4 | 72 | 72 | 0 | 1 | 11 | 0 | 0 | 0
kkms (10)_detections.png | 10 | 10 | 82 | 82 | 0 | 0 | 1 | 0 | 0 | 0
ADDITIONAL KKMs from CT-Set | 6 | 4 | 48 | 32 | 4 | 0 | 0 | 2 | 16 | 12

## Cetected CTs Threshold 0.5
Detected Cooling Towers in the Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.5
Image | Ground Truth CTs | TP CTs | FP CTs | FN CTs
5 (6)_detections.png | 2 | 2 | 0 | 0
5 (7)_detections.png | 2 | 2 | 0 | 0
6 (5)_detections.png | 1 | 1 | 0 | 0
6 (6)_detections.png | 3 | 2 | 0 | 1
6 (8)_detections.png | 1 | 1 | 0 | 0
7 (2)_detections.png | 2 | 2 | 0 | 0
7 (13)_detections.png | 1 | 1 | 0 | 0
7 (14)_detections.png | 2 | 2 | 0 | 0
7 (15)_detections.png | 2 | 2 | 0 | 0
7 (16)_detections.png | 1 | 1 | 0 | 0
7 (17)_detections.png | 1 | 1 | 0 | 0
7 (18)_detections.png | 2 | 2 | 0 | 0
7 (19)_detections.png | 2 | 2 | 0 | 0
7 (20)_detections.png | 2 | 2 | 0 | 0
7 (3)_detections.png | 2 | 2 | 0 | 0
7 (4)_detections.png | 2 | 2 | 0 | 0
7 (9)_detections.png | 4 | 4 | 0 | 0
8 (2)_detections.png | 2 | 2 | 0 | 0
8 (4)_detections.png | 2 | 2 | 0 | 0
8 (5)_detections.png | 3 | 3 | 1 | 0
8 (6)_detections.png | 4 | 3 | 0 | 1
8 (7)_detections.png | 1 | 1 | 0 | 0
8 (9)_detections.png | 4 | 4 | 0 | 0
8 (10)_detections.png | 4 | 0 | 0 | 4
8 (11)_detections.png | 3 | 3 | 0 | 0
8 (14)_detections.png | 3 | 3 | 0 | 0
8 (15)_detections.png | 3 | 3 | 0 | 0
8 (16)_detections.png | 3 | 3 | 0 | 0
9 (1)_detections.png | 3 | 3 | 0 | 0
9 (2)_detections.png | 2 | 2 | 0 | 0
9 (3)_detections.png | 4 | 4 | 0 | 0
9 (4)_detections.png | 2 | 2 | 0 | 0
9 (5)_detections.png | 2 | 2 | 0 | 0
9 (6)_detections.png | 4 | 4 | 0 | 0
9 (7)_detections.png | 7 | 1 | 0 | 6
9 (9)_detections.png | 4 | 2 | 0 | 2
9 (11)_detections.png | 2 | 2 | 0 | 0
9 (12)_detections.png | 4 | 4 | 0 | 0
10 (1)_detections.png | 6 | 5 | 0 | 1
10 (4)_detections.png | 3 | 3 | 0 | 0
10 (6)_detections.png | 4 | 3 | 0 | 1
10 (8)_detections.png | 1 | 1 | 0 | 0
10 (9)_detections.png | 4 | 4 | 1 | 0
10 (10)_detections.png | 4 | 4 | 0 | 0
10 (11)_detections.png | 6 | 1 | 0 | 5
10 (12)_detections.png | 6 | 6 | 0 | 0
10 (14)_detections.png | 2 | 2 | 0 | 0
10 (16)_detections.png | 8 | 8 | 0 | 0
25 (1)_detections.png | 2 | 0 | 0 | 2
25 (6)_detections.png | 1 | 1 | 0 | 0
ADDITIONAL CTs from KKM-Set | 0 | 0 | 0 | 0

## Detected CTs Threshold 0.4
Detected Cooling Towers in the Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.4
Image | Ground Truth CTs | TP CTs | FP CTs | FN CTs
5 (6)_detections.png | 2 | 2 | 0 | 0
5 (7)_detections.png | 2 | 2 | 0 | 0
6 (5)_detections.png | 1 | 1 | 0 | 0
6 (6)_detections.png | 3 | 2 | 0 | 1
6 (8)_detections.png | 1 | 1 | 0 | 0
7 (2)_detections.png | 2 | 2 | 0 | 0
7 (13)_detections.png | 1 | 1 | 0 | 0
7 (14)_detections.png | 2 | 2 | 0 | 0
7 (15)_detections.png | 2 | 2 | 0 | 0
7 (16)_detections.png | 1 | 1 | 0 | 0
7 (17)_detections.png | 1 | 1 | 0 | 0
7 (18)_detections.png | 2 | 2 | 0 | 0
7 (19)_detections.png | 2 | 2 | 0 | 0
7 (20)_detections.png | 2 | 2 | 0 | 0
7 (3)_detections.png | 2 | 2 | 0 | 0
7 (4)_detections.png | 2 | 2 | 0 | 0
7 (9)_detections.png | 4 | 4 | 0 | 0
8 (2)_detections.png | 2 | 2 | 0 | 0
8 (4)_detections.png | 2 | 2 | 0 | 0
8 (5)_detections.png | 3 | 3 | 2 | 0
8 (6)_detections.png | 4 | 3 | 0 | 1
8 (7)_detections.png | 1 | 1 | 0 | 0
8 (9)_detections.png | 4 | 4 | 0 | 0
8 (10)_detections.png | 5 | 0 | 0 | 4
8 (11)_detections.png | 3 | 3 | 0 | 0
8 (14)_detections.png | 3 | 3 | 0 | 0
8 (15)_detections.png | 3 | 3 | 0 | 0
8 (16)_detections.png | 3 | 3 | 0 | 0
9 (1)_detections.png | 3 | 3 | 0 | 0
9 (2)_detections.png | 2 | 2 | 0 | 0
9 (3)_detections.png | 4 | 4 | 0 | 0
9 (4)_detections.png | 2 | 2 | 0 | 0
9 (5)_detections.png | 2 | 2 | 0 | 0
9 (6)_detections.png | 4 | 4 | 0 | 0
9 (7)_detections.png | 7 | 1 | 0 | 6
9 (9)_detections.png | 4 | 2 | 0 | 2
9 (11)_detections.png | 2 | 2 | 0 | 0
9 (12)_detections.png | 4 | 4 | 0 | 0
10 (1)_detections.png | 6 | 5 | 0 | 1
10 (4)_detections.png | 3 | 3 | 0 | 0
10 (6)_detections.png | 4 | 3 | 0 | 1
10 (8)_detections.png | 1 | 1 | 0 | 0
10 (9)_detections.png | 4 | 4 | 1 | 0
10 (10)_detections.png | 4 | 4 | 0 | 0
10 (11)_detections.png | 7 | 1 | 0 | 5
10 (12)_detections.png | 6 | 6 | 1 | 0
10 (14)_detections.png | 2 | 2 | 0 | 0
10 (16)_detections.png | 8 | 8 | 0 | 0
25 (1)_detections.png | 2 | 0 | 0 | 2
25 (6)_detections.png | 1 | 1 | 0 | 0
ADDITIONAL CTs from KKM-Set | 0 | 0 | 1 | 0

## Detecetd CTs Threshold 0.3
Detected Cooling Towers in the Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.4
Image | Ground Truth CTs | TP CTs | FP CTs | FN CTs
5 (6)_detections.png | 2 | 2 | 0 | 0
5 (7)_detections.png | 2 | 2 | 0 | 0
6 (5)_detections.png | 1 | 1 | 0 | 0
6 (6)_detections.png | 3 | 2 | 0 | 1
6 (8)_detections.png | 1 | 1 | 0 | 0
7 (2)_detections.png | 2 | 2 | 0 | 0
7 (13)_detections.png | 1 | 1 | 0 | 0
7 (14)_detections.png | 2 | 2 | 0 | 0
7 (15)_detections.png | 2 | 2 | 0 | 0
7 (16)_detections.png | 1 | 1 | 0 | 0
7 (17)_detections.png | 1 | 1 | 0 | 0
7 (18)_detections.png | 2 | 2 | 0 | 0
7 (19)_detections.png | 2 | 2 | 0 | 0
7 (20)_detections.png | 2 | 2 | 0 | 0
7 (3)_detections.png | 2 | 2 | 0 | 0
7 (4)_detections.png | 2 | 2 | 0 | 0
7 (9)_detections.png | 4 | 4 | 0 | 0
8 (2)_detections.png | 2 | 2 | 0 | 0
8 (4)_detections.png | 2 | 2 | 0 | 0
8 (5)_detections.png | 3 | 3 | 3 | 0
8 (6)_detections.png | 4 | 3 | 0 | 1
8 (7)_detections.png | 1 | 1 | 0 | 0
8 (9)_detections.png | 4 | 4 | 0 | 0
8 (10)_detections.png | 4 | 2 | 0 | 4
8 (11)_detections.png | 3 | 3 | 0 | 0
8 (14)_detections.png | 3 | 3 | 0 | 0
8 (15)_detections.png | 3 | 3 | 0 | 0
8 (16)_detections.png | 3 | 3 | 0 | 0
9 (1)_detections.png | 3 | 3 | 0 | 0
9 (2)_detections.png | 2 | 2 | 0 | 0
9 (3)_detections.png | 4 | 4 | 0 | 0
9 (4)_detections.png | 2 | 2 | 0 | 0
9 (5)_detections.png | 2 | 2 | 0 | 0
9 (6)_detections.png | 4 | 4 | 0 | 0
9 (7)_detections.png | 7 | 1 | 0 | 6
9 (9)_detections.png | 4 | 2 | 0 | 2
9 (11)_detections.png | 2 | 2 | 0 | 0
9 (12)_detections.png | 4 | 4 | 0 | 0
10 (1)_detections.png | 6 | 5 | 0 | 1
10 (4)_detections.png | 3 | 3 | 0 | 0
10 (6)_detections.png | 4 | 3 | 0 | 1
10 (8)_detections.png | 1 | 1 | 0 | 0
10 (9)_detections.png | 4 | 4 | 1 | 0
10 (10)_detections.png | 4 | 4 | 0 | 0
10 (11)_detections.png | 6 | 5 | 0 | 5
10 (12)_detections.png | 6 | 6 | 2 | 0
10 (14)_detections.png | 2 | 2 | 0 | 0
10 (16)_detections.png | 8 | 8 | 0 | 0
25 (1)_detections.png | 2 | 2 | 1 | 2
25 (6)_detections.png | 1 | 1 | 4 | 0
ADDITIONAL CTs from KKM-Set | 0 | 0 | 4 | 0

## CTs Calibration
Calibration of the Size-Estiamtion of Cooling Towers in the Calibration Data Set
Estimated Size (px) | True Size (px)
80 | 64.5
80 | 65.5
44.5 | 41
45.5 | 41
46 | 41
31.5 | 27
44.5 | 41
30.5 | 27
25 | 22
24.5 | 22
34.5 | 29
34.5 | 29
35 | 29
32.5 | 29
33.5 | 29
33.5 | 29
35 | 29
34.5 | 29
60.5 | 53
60.5 | 53.5
58.5 | 53.5
33.5 | 29.5
34.5 | 28.5
73.5 | 67.5
74 | 67.5
116.5 | 100
52 | 41.5
53 | 41.5
64.5 | 55.5
67 | 56
98.5 | 94.5
72 | 68
74 | 68
71.5 | 68
74.5 | 68
70 | 64.5
71.5 | 64.5
70.5 | 64.5
70.5 | 64.5
72 | 64.5
67 | 64.5
55 | 44.5
56.5 | 44.5
47.5 | 40.5
48.5 | 40.5
51 | 40.5
80.5 | 70.5
82 | 70.5
81 | 70.5
119 | 114
119.5 | 114
106 | 93.5
103.5 | 93.5
109 | 95.5
75.5 | 69.5
76 | 69.5
76.5 | 69.5
77.5 | 69.5
76 | 69.5
74.5 | 69.5
76.5 | 69.5
78.5 | 69
78.5 | 69
61 | 48.5
87 | 79
86 | 79
85 | 79
85 | 79
88 | 79
76 | 68.5
75.5 | 68.5
85 | 79
118 | 116.5
121 | 117.5
79.5 | 70
79 | 70
79.5 | 70
81.5 | 70
62.5 | 54.5
101 | 92
98.5 | 92
98.5 | 92
112 | 100.5
112.5 | 100.5
113 | 100.5
111.5 | 100.5
134.5 | 126.5
39 | 32.5
38 | 32.5
38.5 | 32.5
36 | 32.5
91.5 | 84.5
90 | 84.5
76.5 | 69
75 | 69
88.5 | 84
90 | 84
74.5 | 69
73 | 69
55 | 45.5
56 | 45.5
48.5 | 43
29 | 23
35 | 27
33 | 24.5
32 | 24.5
29.5 | 23
29 | 20.5
56.5 | 43
46.5 | 36.5
59.5 | 46
31.5 | 21.5
30.5 | 21.5
28.5 | 21.5
29 | 21.5
55 | 41
55 | 41
47 | 37
42 | 34
43.5 | 34
40.5 | 34
41.5 | 34
43.5 | 34
42.5 | 34
42 | 34
43.5 | 34
43 | 34
42 | 34
42.5 | 34
41 | 34
32.5 | 27.5
32.5 | 27.5
110.5 | 97.5
113.5 | 97.5
114.5 | 97.5
58.5 | 57
141.5 | 127
140 | 127
141 | 127
128.5 | 117.5
110.5 | 95.5
110 | 95.5
113.5 | 95.5
116.5 | 95.5
48 | 40
47.5 | 40
46 | 40
46.5 | 40
47 | 40
46 | 40
119.5 | 107
123.5 | 107
51 | 40
52 | 40
51 | 40
51 | 40
51.5 | 40
28 | 23
27.5 | 23
26.5 | 23
26 | 23
27 | 23
49.5 | 40
47.5 | 40
48 | 40
48 | 40
46 | 40
45.5 | 40
40.5 | 37
42 | 37
42 | 37
40.5 | 37
41.5 | 36.5
40 | 36.5
39.5 | 36.5
39 | 36.5
39.5 | 36.5
30 | 26.5
30 | 26.5
30.5 | 26.5
30.5 | 26.5
45 | 39
45 | 39
43.5 | 39
44 | 39
44.5 | 39
43.5 | 39
46.5 | 40
44 | 40
43.5 | 40
56 | 50
56.5 | 50
48 | 41.5
26.5 | 21.5
26 | 21.5
25 | 21.5
27 | 21.5
27 | 21.5
26.5 | 21.5
25.5 | 19
24 | 19
23.5 | 19
23.5 | 19
23.5 | 19
23 | 19
23.5 | 19
24 | 19
23 | 19
61 | 50
62.5 | 56.5

## CTs Test Cooling Capacity
Cooling Capacity of Cooling Towers in the Test Data Set
True Size (px) | True Cooling Capacity (kW) | Predicted Size (px) (Calibration Function) | Predicted Size (px) (Calibration Factor) | Predicted Cooling Capacity (kW) (Calibration Function) | Predicted Cooling Capacity (kW) (Calibration Factor)
36.5 | 4961.9819 | 38.3344 | 38.3344 | 6130.2609 | 5562.5907
36.5 | 4961.9819 | 37.9037 | 37.9037 | 5963.5478 | 5418.2778
35 | 4498.1016 | 36.1808 | 36.1808 | 5321.0254 | 4861.2253
35 | 4498.1016 | 37.0423 | 37.0423 | 5637.4206 | 5135.7118
35 | 4498.1016 | 37.0423 | 37.0423 | 5637.4206 | 5135.7118
22 | 1503.9556 | 24.5513 | 24.5513 | 2002.2153 | 1946.4452
21 | 1349.8494 | 23.6898 | 23.6898 | 1826.9349 | 1789.1124
25 | 2031.5994 | 21.5362 | 21.5362 | 1431.3116 | 1431.1285
25 | 2031.5994 | 21.9669 | 21.9669 | 1505.5702 | 1498.6855
19 | 1074.2997 | 18.9519 | 18.9519 | 1036.8532 | 1068.2043
32 | 3643.8318 | 31.8736 | 31.8736 | 3885.0303 | 3609.9864
32 | 3643.8318 | 32.3043 | 32.3043 | 4017.6812 | 3726.0207
31 | 3380.8503 | 31.4429 | 31.4429 | 3754.8124 | 3495.9719
32 | 3643.8318 | 31.8736 | 31.8736 | 3885.0303 | 3609.9864
32 | 3643.8318 | 32.3043 | 32.3043 | 4017.6812 | 3726.0207
30.5 | 3253.4424 | 29.72 | 29.72 | 3258.2708 | 3060.1128
25.5 | 2129.0666 | 26.7049 | 26.7049 | 2482.994 | 2375.1253
24.5 | 1936.854 | 25.4127 | 25.4127 | 2187.2277 | 2111.8576
27.5 | 2546.1543 | 28.4278 | 28.4278 | 2911.4112 | 2754.4274
27.5 | 2546.1543 | 27.5663 | 27.5663 | 2692.3366 | 2560.7365
27.5 | 2546.1543 | 27.9971 | 27.9971 | 2800.6574 | 2656.572
27.5 | 2546.1543 | 28.4278 | 28.4278 | 2911.4112 | 2754.4274
27.5 | 2546.1543 | 27.1356 | 27.1356 | 2586.4488 | 2466.921
27 | 2437.7995 | 27.5663 | 27.5663 | 2692.3366 | 2560.7365
24.5 | 1936.854 | 23.2591 | 23.2591 | 1742.9442 | 1713.4758
23.5 | 1755.529 | 22.8284 | 22.8284 | 1661.3865 | 1639.8592
27.5 | 2546.1543 | 27.9971 | 27.9971 | 2800.6574 | 2656.572
25 | 2031.5994 | 25.8434 | 25.8434 | 2283.3835 | 2197.5936
27.5 | 2546.1543 | 29.2892 | 29.2892 | 3140.2179 | 2956.1978
23 | 1668.9493 | 22.8284 | 22.8284 | 1661.3865 | 1639.8592
22.5 | 1585.0915 | 22.3977 | 22.3977 | 1582.2619 | 1568.2624
23 | 1668.9493 | 23.6898 | 23.6898 | 1826.9349 | 1789.1124
26 | 2229.2557 | 25.8434 | 25.8434 | 2283.3835 | 2197.5936
39 | 5789.5534 | 42.211 | 42.211 | 7740.1648 | 6952.3015
39.5 | 5963.2334 | 43.0724 | 43.0724 | 8124.6843 | 7283.3449
29.5 | 3006.7921 | 33.1658 | 33.1658 | 4290.2822 | 3964.1492
30 | 3128.7563 | 33.1658 | 33.1658 | 4290.2822 | 3964.1492
24.5 | 1936.854 | 24.1206 | 24.1206 | 1913.3586 | 1866.7689
44.5 | 7849.7365 | 45.226 | 45.226 | 9128.561 | 8146.3016
44.5 | 7849.7365 | 45.226 | 45.226 | 9128.561 | 8146.3016
51 | 10709.1122 | 50.3947 | 50.3947 | 11786.0323 | 10423.4265
51 | 10709.1122 | 52.1176 | 52.1176 | 12749.7125 | 11247.1047
105 | 52248.7122 | 104.2352 | 104.2352 | 60300.7033 | 51438.7956
105 | 52248.7122 | 102.0816 | 102.0816 | 57630.2124 | 49192.2135
105 | 52248.7122 | 96.9129 | 96.9129 | 51469.2016 | 44006.4454
105 | 52248.7122 | 103.8045 | 103.8045 | 59761.7391 | 50985.4394
24.5 | 1936.854 | 25.4127 | 25.4127 | 2187.2277 | 2111.8576
23.5 | 1755.529 | 24.1206 | 24.1206 | 1913.3586 | 1866.7689
24.5 | 1936.854 | 25.4127 | 25.4127 | 2187.2277 | 2111.8576
24 | 1844.8306 | 23.2591 | 23.2591 | 1742.9442 | 1713.4758
30.5 | 3253.4424 | 31.4429 | 31.4429 | 3754.8124 | 3495.9719
30.5 | 3253.4424 | 30.5814 | 30.5814 | 3501.6755 | 3274.0026
28.5 | 2771.0294 | 29.2892 | 29.2892 | 3140.2179 | 2956.1978
23 | 1668.9493 | 24.1206 | 24.1206 | 1913.3586 | 1866.7689
23 | 1668.9493 | 22.8284 | 22.8284 | 1661.3865 | 1639.8592
30.5 | 3253.4424 | 31.0121 | 31.0121 | 3627.0274 | 3383.9773
30.5 | 3253.4424 | 31.0121 | 31.0121 | 3627.0274 | 3383.9773
31 | 3380.8503 | 32.3043 | 32.3043 | 4017.6812 | 3726.0207
31 | 3380.8503 | 31.4429 | 31.4429 | 3754.8124 | 3495.9719
28 | 2657.2309 | 28.8585 | 28.8585 | 3024.598 | 2854.3026
28 | 2657.2309 | 28.8585 | 28.8585 | 3024.598 | 2854.3026
34 | 4202.4575 | 34.0272 | 34.0272 | 4572.6152 | 4210.3572
34 | 4202.4575 | 34.0272 | 34.0272 | 4572.6152 | 4210.3572
34 | 4202.4575 | 34.8887 | 34.8887 | 4864.6802 | 4464.6447
34 | 4202.4575 | 34.4579 | 34.4579 | 4717.4312 | 4336.491
36 | 4804.6332 | 37.473 | 37.473 | 5799.2677 | 5275.9848
20 | 1206.6308 | 21.5362 | 21.5362 | 1431.3116 | 1431.1285
20 | 1206.6308 | 20.6748 | 20.6748 | 1290.0934 | 1302.0742
25 | 2031.5994 | 25.4127 | 25.4127 | 2187.2277 | 2111.8576
24 | 1844.8306 | 24.1206 | 24.1206 | 1913.3586 | 1866.7689
32 | 3643.8318 | 31.8736 | 31.8736 | 3885.0303 | 3609.9864
31.5 | 3510.9801 | 30.5814 | 30.5814 | 3501.6755 | 3274.0026
31.5 | 3510.9801 | 31.4429 | 31.4429 | 3754.8124 | 3495.9719
26 | 2229.2557 | 26.7049 | 26.7049 | 2482.994 | 2375.1253
24.5 | 1936.854 | 26.2742 | 26.2742 | 2381.9722 | 2285.3495
26 | 2229.2557 | 27.1356 | 27.1356 | 2586.4488 | 2466.921
33.5 | 4058.7182 | 34.4579 | 34.4579 | 4717.4312 | 4336.491
34.5 | 4348.9186 | 34.8887 | 34.8887 | 4864.6802 | 4464.6447
34.5 | 4348.9186 | 35.7501 | 35.7501 | 5166.4773 | 4727.0119
38 | 5450.3591 | 39.6266 | 39.6266 | 6644.9984 | 6007.6486
38.5 | 5618.5953 | 40.0573 | 40.0573 | 6821.4436 | 6160.041
38.5 | 5618.5953 | 40.0573 | 40.0573 | 6821.4436 | 6160.041
22 | 1503.9556 | 22.8284 | 22.8284 | 1661.3865 | 1639.8592
22 | 1503.9556 | 22.3977 | 22.3977 | 1582.2619 | 1568.2624
27.5 | 2546.1543 | 29.2892 | 29.2892 | 3140.2179 | 2956.1978
27.5 | 2546.1543 | 28.4278 | 28.4278 | 2911.4112 | 2754.4274
34.5 | 4348.9186 | 34.8887 | 34.8887 | 4864.6802 | 4464.6447
35.5 | 4650.0065 | 35.7501 | 35.7501 | 5166.4773 | 4727.0119
35 | 4498.1016 | 33.1658 | 33.1658 | 4290.2822 | 3964.1492
32 | 3643.8318 | 31.4429 | 31.4429 | 3754.8124 | 3495.9719
32 | 3643.8318 | 31.8736 | 31.8736 | 3885.0303 | 3609.9864
33.5 | 4058.7182 | 33.1658 | 33.1658 | 4290.2822 | 3964.1492
31 | 3380.8503 | 32.735 | 32.735 | 4152.7652 | 3844.075
30.5 | 3253.4424 | 31.0121 | 31.0121 | 3627.0274 | 3383.9773
31 | 3380.8503 | 31.0121 | 31.0121 | 3627.0274 | 3383.9773
32 | 3643.8318 | 31.8736 | 31.8736 | 3885.0303 | 3609.9864
31.5 | 3510.9801 | 31.0121 | 31.0121 | 3627.0274 | 3383.9773
30 | 3128.7563 | 30.1507 | 30.1507 | 3378.7566 | 3166.0477
30 | 3128.7563 | 29.72 | 29.72 | 3258.2708 | 3060.1128
30 | 3128.7563 | 30.5814 | 30.5814 | 3501.6755 | 3274.0026
30 | 3128.7563 | 29.72 | 29.72 | 3258.2708 | 3060.1128
30 | 3128.7563 | 30.5814 | 30.5814 | 3501.6755 | 3274.0026
25 | 2031.5994 | 24.5513 | 24.5513 | 2002.2153 | 1946.4452
25 | 2031.5994 | 24.5513 | 24.5513 | 2002.2153 | 1946.4452
25 | 2031.5994 | 25.4127 | 25.4127 | 2187.2277 | 2111.8576
25 | 2031.5994 | 24.5513 | 24.5513 | 2002.2153 | 1946.4452
21 | 1349.8494 | 21.5362 | 21.5362 | 1431.3116 | 1431.1285
21 | 1349.8494 | 21.9669 | 21.9669 | 1505.5702 | 1498.6855
26 | 2229.2557 | 25.8434 | 25.8434 | 2283.3835 | 2197.5936
26 | 2229.2557 | 25.4127 | 25.4127 | 2187.2277 | 2111.8576
26 | 2229.2557 | 24.5513 | 24.5513 | 2002.2153 | 1946.4452
26 | 2229.2557 | 23.2591 | 23.2591 | 1742.9442 | 1713.4758
28 | 2657.2309 | 27.5663 | 27.5663 | 2692.3366 | 2560.7365
26 | 2229.2557 | 23.2591 | 23.2591 | 1742.9442 | 1713.4758
29 | 2887.5498 | 29.2892 | 29.2892 | 3140.2179 | 2956.1978
29.5 | 3006.7921 | 30.5814 | 30.5814 | 3501.6755 | 3274.0026
41 | 6500.6045 | 44.7953 | 44.7953 | 8922.9196 | 7969.6705
41 | 6500.6045 | 43.5031 | 43.5031 | 8320.5936 | 7451.8965
41 | 6500.6045 | 39.6266 | 39.6266 | 6644.9984 | 6007.6486
41 | 6500.6045 | 40.9188 | 40.9188 | 7181.633 | 6470.8855
43.5 | 7450.6608 | 40.9188 | 40.9188 | 7181.633 | 6470.8855
49 | 9780.3104 | 52.1176 | 52.1176 | 12749.7125 | 11247.1047
50 | 10239.2675 | 58.1478 | 58.1478 | 16429.1529 | 14384.4845

## Vents Hough
Detected Vents of Compression Chillers in The Test Data Set Using Circular Hough Trahsform
Ground Truth Vents | True Cooling Capacity (kW) | Detected Vents | Detected Cooling Capacity (kW)
6 | 304.957 | 4 | 180.711
0 | 0 | 0 | 0
6 | 304.957 | 2 | 56.465
6 | 304.957 | 1 | 0
6 | 304.957 | 2 | 56.465
6 | 304.957 | 1 | 0
10 | 553.449 | 10 | 553.449
5 | 242.834 | 4 | 180.711
16 | 926.187 | 15 | 864.064
20 | 1174.679 | 17 | 988.31
6 | 304.957 | 6 | 304.957
10 | 553.449 | 9 | 491.326
20 | 1174.679 | 19 | 1112.556
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 21 | 1236.802
8 | 429.203 | 8 | 429.203
8 | 429.203 | 6 | 304.957
12 | 677.695 | 9 | 491.326
8 | 429.203 | 7 | 367.08
12 | 677.695 | 8 | 429.203
8 | 429.203 | 0 | 0
8 | 429.203 | 4 | 180.711
0 | 0 | 0 | 0
0 | 0 | 1 | 0
6 | 304.957 | 7 | 367.08
0 | 0 | 3 | 118.588
10 | 553.449 | 10 | 553.449
10 | 553.449 | 11 | 615.572
6 | 304.957 | 15 | 864.064
6 | 304.957 | 13 | 739.818
6 | 304.957 | 13 | 739.818
10 | 553.449 | 12 | 677.695
10 | 553.449 | 12 | 677.695
10 | 553.449 | 11 | 615.572
10 | 553.449 | 10 | 553.449
10 | 553.449 | 11 | 615.572
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
2 | 56.465 | 2 | 56.465
2 | 56.465 | 2 | 56.465
3 | 118.588 | 4 | 180.711
16 | 926.187 | 15 | 864.064
18 | 1050.433 | 19 | 1112.556
8 | 429.203 | 6 | 304.957
12 | 677.695 | 10 | 553.449
8 | 429.203 | 7 | 367.08
10 | 553.449 | 10 | 553.449
10 | 553.449 | 8 | 429.203
8 | 429.203 | 8 | 429.203
10 | 553.449 | 6 | 304.957
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
3 | 118.588 | 0 | 0
10 | 553.449 | 0 | 0
10 | 553.449 | 0 | 0
3 | 118.588 | 2 | 56.465
4 | 180.711 | 2 | 56.465
2 | 56.465 | 1 | 0
2 | 56.465 | 1 | 0
8 | 429.203 | 9 | 491.326
18 | 1050.433 | 19 | 1112.556
18 | 1050.433 | 18 | 1050.433
6 | 304.957 | 6 | 304.957
8 | 429.203 | 8 | 429.203
10 | 553.449 | 1 | 0
4 | 180.711 | 1 | 0
2 | 56.465 | 2 | 56.465
10 | 553.449 | 0 | 0
10 | 553.449 | 11 | 615.572
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
12 | 677.695 | 13 | 739.818
4 | 180.711 | 3 | 118.588
4 | 180.711 | 1 | 0
5 | 242.834 | 4 | 180.711
4 | 180.711 | 2 | 56.465
4 | 180.711 | 3 | 118.588
4 | 180.711 | 3 | 118.588
4 | 180.711 | 2 | 56.465
7 | 367.08 | 5 | 242.834
8 | 429.203 | 10 | 553.449
8 | 429.203 | 8 | 429.203
2 | 56.465 | 2 | 56.465
0 | 0 | 3 | 118.588
0 | 0 | 2 | 56.465
0 | 0 | 0 | 0
6 | 304.957 | 0 | 0
2 | 56.465 | 2 | 56.465
4 | 180.711 | 4 | 180.711
4 | 180.711 | 3 | 118.588
2 | 56.465 | 2 | 56.465
10 | 553.449 | 11 | 615.572
6 | 304.957 | 5 | 242.834
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
7 | 367.08 | 6 | 304.957
8 | 429.203 | 7 | 367.08
6 | 304.957 | 5 | 242.834
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
12 | 677.695 | 11 | 615.572
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
8 | 429.203 | 8 | 429.203
8 | 429.203 | 6 | 304.957
12 | 677.695 | 13 | 739.818
12 | 677.695 | 12 | 677.695
10 | 553.449 | 11 | 615.572
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 11 | 615.572
12 | 677.695 | 13 | 739.818
13 | 739.818 | 12 | 677.695
12 | 677.695 | 12 | 677.695
14 | 801.941 | 14 | 801.941
12 | 677.695 | 12 | 677.695
10 | 553.449 | 9 | 491.326
11 | 615.572 | 9 | 491.326
12 | 677.695 | 13 | 739.818
32 | 1920.155 | 31 | 1858.032
6 | 304.957 | 2 | 56.465
5 | 242.834 | 0 | 0
0 | 0 | 9 | 491.326
10 | 553.449 | 9 | 491.326
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 13 | 739.818
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
0 | 0 | 1 | 0
8 | 429.203 | 8 | 429.203
12 | 677.695 | 9 | 491.326
3 | 118.588 | 2 | 56.465
12 | 677.695 | 17 | 988.31
10 | 553.449 | 9 | 491.326
8 | 429.203 | 7 | 367.08
12 | 677.695 | 13 | 739.818
12 | 677.695 | 13 | 739.818
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
4 | 180.711 | 4 | 180.711
0 | 0 | 1 | 0
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 7 | 367.08
3 | 118.588 | 4 | 180.711
2 | 56.465 | 2 | 56.465
11 | 615.572 | 11 | 615.572
11 | 615.572 | 12 | 677.695
0 | 0 | 8 | 429.203
4 | 180.711 | 3 | 118.588
6 | 304.957 | 2 | 56.465
2 | 56.465 | 0 | 0
6 | 304.957 | 4 | 180.711
2 | 56.465 | 2 | 56.465
3 | 118.588 | 3 | 118.588
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
0 | 0 | 1 | 0
4 | 180.711 | 4 | 180.711
12 | 677.695 | 14 | 801.941
12 | 677.695 | 10 | 553.449
4 | 180.711 | 3 | 118.588
10 | 553.449 | 7 | 367.08
2 | 56.465 | 2 | 56.465
0 | 0 | 1 | 0
12 | 677.695 | 11 | 615.572
6 | 304.957 | 4 | 180.711
2 | 56.465 | 0 | 0
10 | 553.449 | 8 | 429.203
6 | 304.957 | 1 | 0
6 | 304.957 | 3 | 118.588
6 | 304.957 | 3 | 118.588
6 | 304.957 | 1 | 0
6 | 304.957 | 1 | 0
10 | 553.449 | 1 | 0
10 | 553.449 | 4 | 180.711
8 | 429.203 | 7 | 367.08
10 | 553.449 | 4 | 180.711
12 | 677.695 | 8 | 429.203
10 | 553.449 | 8 | 429.203
6 | 304.957 | 6 | 304.957
4 | 180.711 | 4 | 180.711
16 | 926.187 | 5 | 242.834
22 | 1298.925 | 21 | 1236.802
4 | 180.711 | 3 | 118.588
19 | 1112.556 | 15 | 864.064
6 | 304.957 | 6 | 304.957
3 | 118.588 | 3 | 118.588
2 | 56.465 | 1 | 0
6 | 304.957 | 6 | 304.957
6 | 304.957 | 4 | 180.711
6 | 304.957 | 6 | 304.957
6 | 304.957 | 7 | 367.08
6 | 304.957 | 7 | 367.08
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 5 | 242.834
14 | 801.941 | 12 | 677.695
14 | 801.941 | 9 | 491.326
4 | 180.711 | 6 | 304.957
14 | 801.941 | 8 | 429.203
14 | 801.941 | 9 | 491.326
14 | 801.941 | 9 | 491.326
14 | 801.941 | 11 | 615.572
20 | 1174.679 | 21 | 1236.802
20 | 1174.679 | 21 | 1236.802
20 | 1174.679 | 17 | 988.31
15 | 864.064 | 11 | 615.572
12 | 677.695 | 7 | 367.08

## Vents EfficientDet Thresh 0.5
Detected Vents of Compression Chillers in The Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.5
Ground Truth Vents | True Cooling Capacity (kW) | Detected Vents | Detected Cooling Capacity (kW)
6 | 304.957 | 2 | 56.465
0 | 0 | 2 | 56.465
6 | 304.957 | 4 | 180.711
6 | 304.957 | 1 | 0
6 | 304.957 | 2 | 56.465
6 | 304.957 | 2 | 56.465
10 | 553.449 | 10 | 553.449
5 | 242.834 | 4 | 180.711
16 | 926.187 | 13 | 739.818
20 | 1174.679 | 16 | 926.187
6 | 304.957 | 8 | 429.203
10 | 553.449 | 10 | 553.449
20 | 1174.679 | 21 | 1236.802
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 20 | 1174.679
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
12 | 677.695 | 10 | 553.449
8 | 429.203 | 8 | 429.203
12 | 677.695 | 11 | 615.572
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
0 | 0 | 2 | 56.465
0 | 0 | 1 | 0
6 | 304.957 | 4 | 180.711
0 | 0 | 2 | 56.465
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
6 | 304.957 | 12 | 677.695
6 | 304.957 | 12 | 677.695
6 | 304.957 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 11 | 615.572
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
2 | 56.465 | 2 | 56.465
2 | 56.465 | 2 | 56.465
3 | 118.588 | 4 | 180.711
16 | 926.187 | 16 | 926.187
18 | 1050.433 | 18 | 1050.433
8 | 429.203 | 8 | 429.203
12 | 677.695 | 11 | 615.572
8 | 429.203 | 7 | 367.08
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
8 | 429.203 | 8 | 429.203
10 | 553.449 | 10 | 553.449
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
3 | 118.588 | 1 | 0
10 | 553.449 | 7 | 367.08
10 | 553.449 | 7 | 367.08
3 | 118.588 | 3 | 118.588
4 | 180.711 | 3 | 118.588
2 | 56.465 | 2 | 56.465
2 | 56.465 | 1 | 0
8 | 429.203 | 5 | 242.834
18 | 1050.433 | 18 | 1050.433
18 | 1050.433 | 18 | 1050.433
6 | 304.957 | 6 | 304.957
8 | 429.203 | 8 | 429.203
10 | 553.449 | 3 | 118.588
4 | 180.711 | 4 | 180.711
2 | 56.465 | 3 | 118.588
10 | 553.449 | 1 | 0
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
4 | 180.711 | 2 | 56.465
4 | 180.711 | 3 | 118.588
5 | 242.834 | 3 | 118.588
4 | 180.711 | 3 | 118.588
4 | 180.711 | 3 | 118.588
4 | 180.711 | 3 | 118.588
4 | 180.711 | 2 | 56.465
7 | 367.08 | 6 | 304.957
8 | 429.203 | 8 | 429.203
8 | 429.203 | 7 | 367.08
2 | 56.465 | 1 | 0
0 | 0 | 2 | 56.465
0 | 0 | 4 | 180.711
0 | 0 | 1 | 0
6 | 304.957 | 3 | 118.588
2 | 56.465 | 0 | 0
4 | 180.711 | 4 | 180.711
4 | 180.711 | 3 | 118.588
2 | 56.465 | 2 | 56.465
10 | 553.449 | 10 | 553.449
6 | 304.957 | 6 | 304.957
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
7 | 367.08 | 6 | 304.957
8 | 429.203 | 5 | 242.834
6 | 304.957 | 6 | 304.957
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
12 | 677.695 | 11 | 615.572
12 | 677.695 | 10 | 553.449
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
8 | 429.203 | 8 | 429.203
8 | 429.203 | 6 | 304.957
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 11 | 615.572
10 | 553.449 | 11 | 615.572
12 | 677.695 | 14 | 801.941
13 | 739.818 | 14 | 801.941
12 | 677.695 | 12 | 677.695
14 | 801.941 | 13 | 739.818
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
11 | 615.572 | 12 | 677.695
12 | 677.695 | 12 | 677.695
32 | 1920.155 | 32 | 1920.155
6 | 304.957 | 8 | 429.203
5 | 242.834 | 5 | 242.834
0 | 0 | 6 | 304.957
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
0 | 0 | 1 | 0
8 | 429.203 | 8 | 429.203
12 | 677.695 | 12 | 677.695
3 | 118.588 | 1 | 0
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
8 | 429.203 | 8 | 429.203
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
4 | 180.711 | 4 | 180.711
0 | 0 | 1 | 0
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
11 | 615.572 | 11 | 615.572
11 | 615.572 | 11 | 615.572
0 | 0 | 1 | 0
4 | 180.711 | 4 | 180.711
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
6 | 304.957 | 6 | 304.957
2 | 56.465 | 3 | 118.588
3 | 118.588 | 3 | 118.588
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
0 | 0 | 0 | 0
4 | 180.711 | 4 | 180.711
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
4 | 180.711 | 4 | 180.711
10 | 553.449 | 9 | 491.326
2 | 56.465 | 2 | 56.465
0 | 0 | 1 | 0
12 | 677.695 | 12 | 677.695
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
10 | 553.449 | 9 | 491.326
6 | 304.957 | 3 | 118.588
6 | 304.957 | 3 | 118.588
6 | 304.957 | 2 | 56.465
6 | 304.957 | 1 | 0
6 | 304.957 | 2 | 56.465
10 | 553.449 | 5 | 242.834
10 | 553.449 | 5 | 242.834
8 | 429.203 | 8 | 429.203
10 | 553.449 | 7 | 367.08
12 | 677.695 | 10 | 553.449
10 | 553.449 | 11 | 615.572
6 | 304.957 | 6 | 304.957
4 | 180.711 | 4 | 180.711
16 | 926.187 | 8 | 429.203
22 | 1298.925 | 22 | 1298.925
4 | 180.711 | 4 | 180.711
19 | 1112.556 | 19 | 1112.556
6 | 304.957 | 3 | 118.588
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
6 | 304.957 | 7 | 367.08
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 7 | 367.08
6 | 304.957 | 7 | 367.08
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 7 | 367.08
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
4 | 180.711 | 8 | 429.203
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 20 | 1174.679
15 | 864.064 | 16 | 926.187
12 | 677.695 | 12 | 677.695

## Vents EfficientDet Thresh 0.4
Detected Vents of Compression Chillers in The Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.4
Ground Truth Vents | True Cooling Capacity (kW) | Detected Vents | Detected Cooling Capacity (kW)
6 | 304.957 | 2 | 56.465
0 | 0 | 0 | 0
6 | 304.957 | 3 | 118.588
6 | 304.957 | 1 | 0
6 | 304.957 | 2 | 56.465
6 | 304.957 | 2 | 56.465
10 | 553.449 | 10 | 553.449
5 | 242.834 | 4 | 180.711
16 | 926.187 | 9 | 491.326
20 | 1174.679 | 9 | 491.326
6 | 304.957 | 5 | 242.834
10 | 553.449 | 7 | 367.08
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 19 | 1112.556
20 | 1174.679 | 20 | 1174.679
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
12 | 677.695 | 9 | 491.326
8 | 429.203 | 8 | 429.203
12 | 677.695 | 10 | 553.449
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
0 | 0 | 2 | 56.465
0 | 0 | 1 | 0
6 | 304.957 | 1 | 0
0 | 0 | 2 | 56.465
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
6 | 304.957 | 12 | 677.695
6 | 304.957 | 12 | 677.695
6 | 304.957 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
8 | 429.203 | 7 | 367.08
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
2 | 56.465 | 2 | 56.465
2 | 56.465 | 2 | 56.465
3 | 118.588 | 2 | 56.465
16 | 926.187 | 16 | 926.187
18 | 1050.433 | 17 | 988.31
8 | 429.203 | 8 | 429.203
12 | 677.695 | 11 | 615.572
8 | 429.203 | 7 | 367.08
10 | 553.449 | 10 | 553.449
10 | 553.449 | 9 | 491.326
8 | 429.203 | 8 | 429.203
10 | 553.449 | 10 | 553.449
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
3 | 118.588 | 0 | 0
10 | 553.449 | 3 | 118.588
10 | 553.449 | 4 | 180.711
3 | 118.588 | 2 | 56.465
4 | 180.711 | 1 | 0
2 | 56.465 | 2 | 56.465
2 | 56.465 | 0 | 0
8 | 429.203 | 1 | 0
18 | 1050.433 | 18 | 1050.433
18 | 1050.433 | 18 | 1050.433
6 | 304.957 | 6 | 304.957
8 | 429.203 | 8 | 429.203
10 | 553.449 | 2 | 56.465
4 | 180.711 | 1 | 0
2 | 56.465 | 3 | 118.588
10 | 553.449 | 1 | 0
10 | 553.449 | 9 | 491.326
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
4 | 180.711 | 1 | 0
4 | 180.711 | 1 | 0
5 | 242.834 | 2 | 56.465
4 | 180.711 | 1 | 0
4 | 180.711 | 2 | 56.465
4 | 180.711 | 1 | 0
4 | 180.711 | 1 | 0
7 | 367.08 | 3 | 118.588
8 | 429.203 | 7 | 367.08
8 | 429.203 | 5 | 242.834
2 | 56.465 | 0 | 0
0 | 0 | 1 | 0
0 | 0 | 3 | 118.588
0 | 0 | 0 | 0
6 | 304.957 | 1 | 0
2 | 56.465 | 0 | 0
4 | 180.711 | 0 | 0
4 | 180.711 | 1 | 0
2 | 56.465 | 0 | 0
10 | 553.449 | 8 | 429.203
6 | 304.957 | 6 | 304.957
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
7 | 367.08 | 6 | 304.957
8 | 429.203 | 5 | 242.834
6 | 304.957 | 6 | 304.957
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
12 | 677.695 | 11 | 615.572
12 | 677.695 | 10 | 553.449
6 | 304.957 | 6 | 304.957
2 | 56.465 | 1 | 0
8 | 429.203 | 8 | 429.203
8 | 429.203 | 6 | 304.957
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
13 | 739.818 | 13 | 739.818
12 | 677.695 | 12 | 677.695
14 | 801.941 | 9 | 491.326
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
11 | 615.572 | 12 | 677.695
12 | 677.695 | 12 | 677.695
32 | 1920.155 | 32 | 1920.155
6 | 304.957 | 7 | 367.08
5 | 242.834 | 4 | 180.711
0 | 0 | 4 | 180.711
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
0 | 0 | 1 | 0
8 | 429.203 | 8 | 429.203
12 | 677.695 | 11 | 615.572
3 | 118.588 | 1 | 0
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
8 | 429.203 | 8 | 429.203
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
4 | 180.711 | 4 | 180.711
0 | 0 | 1 | 0
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
11 | 615.572 | 11 | 615.572
11 | 615.572 | 10 | 553.449
0 | 0 | 0 | 0
4 | 180.711 | 4 | 180.711
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
6 | 304.957 | 6 | 304.957
2 | 56.465 | 3 | 118.588
3 | 118.588 | 3 | 118.588
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
0 | 0 | 0 | 0
4 | 180.711 | 4 | 180.711
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
4 | 180.711 | 4 | 180.711
10 | 553.449 | 8 | 429.203
2 | 56.465 | 2 | 56.465
0 | 0 | 1 | 0
12 | 677.695 | 12 | 677.695
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
10 | 553.449 | 9 | 491.326
6 | 304.957 | 1 | 0
6 | 304.957 | 2 | 56.465
6 | 304.957 | 1 | 0
6 | 304.957 | 0 | 0
6 | 304.957 | 1 | 0
10 | 553.449 | 5 | 242.834
10 | 553.449 | 5 | 242.834
8 | 429.203 | 8 | 429.203
10 | 553.449 | 5 | 242.834
12 | 677.695 | 10 | 553.449
10 | 553.449 | 10 | 553.449
6 | 304.957 | 6 | 304.957
4 | 180.711 | 4 | 180.711
16 | 926.187 | 6 | 304.957
22 | 1298.925 | 22 | 1298.925
4 | 180.711 | 4 | 180.711
19 | 1112.556 | 19 | 1112.556
6 | 304.957 | 3 | 118.588
3 | 118.588 | 2 | 56.465
2 | 56.465 | 2 | 56.465
6 | 304.957 | 7 | 367.08
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 7 | 367.08
6 | 304.957 | 7 | 367.08
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 7 | 367.08
14 | 801.941 | 9 | 491.326
14 | 801.941 | 14 | 801.941
4 | 180.711 | 6 | 304.957
14 | 801.941 | 14 | 801.941
14 | 801.941 | 12 | 677.695
14 | 801.941 | 12 | 677.695
14 | 801.941 | 14 | 801.941
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 20 | 1174.679
15 | 864.064 | 16 | 926.187
12 | 677.695 | 12 | 677.695

## Vents EfficientDet Thresh 0.3
Detected Vents of Compression Chillers in The Test Data Set Using EfficientDet D0 with a Detection Threshold of 0.3
Ground Truth Vents | True Cooling Capacity (kW) | Detected Vents | Detected Cooling Capacity (kW)
6 | 304.957 | 3 | 118.588
0 | 0 | 4 | 180.711
6 | 304.957 | 4 | 180.711
6 | 304.957 | 2 | 56.465
6 | 304.957 | 4 | 180.711
6 | 304.957 | 4 | 180.711
10 | 553.449 | 10 | 553.449
5 | 242.834 | 5 | 242.834
16 | 926.187 | 16 | 926.187
20 | 1174.679 | 21 | 1236.802
6 | 304.957 | 8 | 429.203
10 | 553.449 | 10 | 553.449
20 | 1174.679 | 21 | 1236.802
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 20 | 1174.679
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
12 | 677.695 | 11 | 615.572
8 | 429.203 | 8 | 429.203
12 | 677.695 | 12 | 677.695
8 | 429.203 | 9 | 491.326
8 | 429.203 | 9 | 491.326
0 | 0 | 4 | 180.711
0 | 0 | 1 | 0
6 | 304.957 | 6 | 304.957
0 | 0 | 4 | 180.711
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
6 | 304.957 | 12 | 677.695
6 | 304.957 | 12 | 677.695
6 | 304.957 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 11 | 615.572
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
8 | 429.203 | 8 | 429.203
2 | 56.465 | 2 | 56.465
2 | 56.465 | 2 | 56.465
3 | 118.588 | 5 | 242.834
16 | 926.187 | 18 | 1050.433
18 | 1050.433 | 18 | 1050.433
8 | 429.203 | 9 | 491.326
12 | 677.695 | 12 | 677.695
8 | 429.203 | 7 | 367.08
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
8 | 429.203 | 8 | 429.203
10 | 553.449 | 11 | 615.572
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
3 | 118.588 | 3 | 118.588
10 | 553.449 | 11 | 615.572
10 | 553.449 | 11 | 615.572
3 | 118.588 | 3 | 118.588
4 | 180.711 | 4 | 180.711
2 | 56.465 | 2 | 56.465
2 | 56.465 | 1 | 0
8 | 429.203 | 8 | 429.203
18 | 1050.433 | 18 | 1050.433
18 | 1050.433 | 18 | 1050.433
6 | 304.957 | 6 | 304.957
8 | 429.203 | 8 | 429.203
10 | 553.449 | 4 | 180.711
4 | 180.711 | 4 | 180.711
2 | 56.465 | 3 | 118.588
10 | 553.449 | 1 | 0
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
4 | 180.711 | 4 | 180.711
4 | 180.711 | 4 | 180.711
5 | 242.834 | 5 | 242.834
4 | 180.711 | 4 | 180.711
4 | 180.711 | 6 | 304.957
4 | 180.711 | 4 | 180.711
4 | 180.711 | 3 | 118.588
7 | 367.08 | 6 | 304.957
8 | 429.203 | 9 | 491.326
8 | 429.203 | 8 | 429.203
2 | 56.465 | 2 | 56.465
0 | 0 | 3 | 118.588
0 | 0 | 5 | 242.834
0 | 0 | 3 | 118.588
6 | 304.957 | 5 | 242.834
2 | 56.465 | 2 | 56.465
4 | 180.711 | 5 | 242.834
4 | 180.711 | 4 | 180.711
2 | 56.465 | 2 | 56.465
10 | 553.449 | 11 | 615.572
6 | 304.957 | 9 | 491.326
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
7 | 367.08 | 6 | 304.957
8 | 429.203 | 6 | 304.957
6 | 304.957 | 6 | 304.957
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
12 | 677.695 | 11 | 615.572
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
8 | 429.203 | 8 | 429.203
8 | 429.203 | 7 | 367.08
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
10 | 553.449 | 11 | 615.572
10 | 553.449 | 10 | 553.449
10 | 553.449 | 11 | 615.572
10 | 553.449 | 11 | 615.572
12 | 677.695 | 15 | 864.064
13 | 739.818 | 15 | 864.064
12 | 677.695 | 12 | 677.695
14 | 801.941 | 14 | 801.941
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
11 | 615.572 | 12 | 677.695
12 | 677.695 | 12 | 677.695
32 | 1920.155 | 32 | 1920.155
6 | 304.957 | 14 | 801.941
5 | 242.834 | 5 | 242.834
0 | 0 | 10 | 553.449
10 | 553.449 | 10 | 553.449
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
10 | 553.449 | 10 | 553.449
0 | 0 | 1 | 0
8 | 429.203 | 8 | 429.203
12 | 677.695 | 12 | 677.695
3 | 118.588 | 2 | 56.465
12 | 677.695 | 12 | 677.695
10 | 553.449 | 10 | 553.449
8 | 429.203 | 8 | 429.203
12 | 677.695 | 12 | 677.695
12 | 677.695 | 12 | 677.695
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
4 | 180.711 | 4 | 180.711
0 | 0 | 1 | 0
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
11 | 615.572 | 12 | 677.695
11 | 615.572 | 11 | 615.572
0 | 0 | 2 | 56.465
4 | 180.711 | 4 | 180.711
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
6 | 304.957 | 6 | 304.957
2 | 56.465 | 4 | 180.711
3 | 118.588 | 3 | 118.588
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
0 | 0 | 0 | 0
4 | 180.711 | 4 | 180.711
12 | 677.695 | 12 | 677.695
12 | 677.695 | 13 | 739.818
4 | 180.711 | 4 | 180.711
10 | 553.449 | 10 | 553.449
2 | 56.465 | 2 | 56.465
0 | 0 | 3 | 118.588
12 | 677.695 | 12 | 677.695
6 | 304.957 | 6 | 304.957
2 | 56.465 | 2 | 56.465
10 | 553.449 | 10 | 553.449
6 | 304.957 | 5 | 242.834
6 | 304.957 | 5 | 242.834
6 | 304.957 | 4 | 180.711
6 | 304.957 | 3 | 118.588
6 | 304.957 | 3 | 118.588
10 | 553.449 | 7 | 367.08
10 | 553.449 | 5 | 242.834
8 | 429.203 | 8 | 429.203
10 | 553.449 | 10 | 553.449
12 | 677.695 | 10 | 553.449
10 | 553.449 | 12 | 677.695
6 | 304.957 | 6 | 304.957
4 | 180.711 | 4 | 180.711
16 | 926.187 | 8 | 429.203
22 | 1298.925 | 22 | 1298.925
4 | 180.711 | 4 | 180.711
19 | 1112.556 | 21 | 1236.802
6 | 304.957 | 6 | 304.957
3 | 118.588 | 3 | 118.588
2 | 56.465 | 2 | 56.465
6 | 304.957 | 7 | 367.08
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 7 | 367.08
6 | 304.957 | 7 | 367.08
6 | 304.957 | 6 | 304.957
6 | 304.957 | 6 | 304.957
6 | 304.957 | 9 | 491.326
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
4 | 180.711 | 8 | 429.203
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
14 | 801.941 | 14 | 801.941
20 | 1174.679 | 20 | 1174.679
20 | 1174.679 | 21 | 1236.802
20 | 1174.679 | 20 | 1174.679
15 | 864.064 | 16 | 926.187
12 | 677.695 | 12 | 677.695